## 800W_SDR Setting
Sensor NO | Senser Name | Display Name - : hide this sensor | Negative Hysteresis | Positive Hysteresis | Offset | standard value | LNR assert | LC assert | LNC assert | UNC assert | UC assert | UNR assert | Over UNR power off system (V) | Modifiable | Remark
10 | Fan_1 | Fan_1 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
11 | Fan_2 | Fan_2 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
12 | Fan_3 | Fan_3 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
13 | Fan_4 | Fan_4 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
14 | Fan_5 | Fan_5 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
15 | Fan_6 | Fan_6 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
2A | Edge-0 expander | BP1_Temp-Exp | 3 | 3 | - | - | - | - | - | - | 112 | 115 | - | -
2B | Edge-0 temp-0 | BP1_Temp-F | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
2C | Edge-0 temp-1 | BP1_Temp-B | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
2D | Edge-1 expander | BP2_Temp-Exp | 3 | 3 | - | - | - | - | - | - | 112 | 115 | - | -
2E | Edge-1 temp-0 | BP2_Temp-F | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
2F | Edge-1 temp-1 | BP2_Temp-B | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
3A | Temp0_EXP | Sys_Temp-Exp | 3 | 3 | - | - | - | - | - | - | 112 | 115 | -
3B | Temp1_EXP | Sys_Temp-Bd | 3 | 3 | - | - | - | - | - | - | 60 | 65 | -
80 | PSU1_Status | PSU1_Status | - | - | - | - | - | - | - | - | - | - | - | -
81 | PSU2_Status | PSU2_Status | - | - | - | - | - | - | - | - | - | - | - | -
84 | PSU_watt | PSU_Watt | - | - | - | - | - | - | - | - | - | - | - | -
88 | PSU1_temp | PSU1_Temp | 3 | 3 | - | - | - | - | - | - | 55 | 60 | - | -
89 | PSU2_temp | PSU2_Temp | 3 | 3 | - | - | - | - | - | - | 55 | 60 | - | -
B0 | ExpBd1_Presence | ExpBd1_Presence | - | - | - | - | - | - | - | - | - | - | - |  | Discrete sensor, Expander Board presence.
B1 | ExpBd2_Presence | ExpBd2_Presence | - | - | - | - | - | - | - | - | - | - | - |  | Discrete sensor, Expander Board presence..
Explanation: LNR: Lower Non-Recoverable Threshold LC: Lower Non-Critical Threshold LNC: Lower Non-Critical Threshold UNC: Upper Non-Critical Threshold UC: Upper Non-Critical Threshold UNR: Upper Non-Recoverable Threshold

## 1200W_1300W_SDR Setting
Sensor NO | Senser Name | Display Name - : hide this sensor | Negative Hysteresis | Positive Hysteresis | Offset | standard value | LNR assert | LC assert | LNC assert | UNC assert | UC assert | UNR assert | Over UNR power off system (V) | Modifiable | Remark
10 | Fan_1 | Fan_1 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
11 | Fan_2 | Fan_2 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
12 | Fan_3 | Fan_3 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
13 | Fan_4 | Fan_4 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
14 | Fan_5 | Fan_5 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
15 | Fan_6 | Fan_6 | 3 | 3 | - | - | 300 | - | - | - | - | - | - | -
2A | Edge-0 expander | BP1_Temp-Exp | 3 | 3 | - | - | - | - | - | - | 112 | 115 | - | -
2B | Edge-0 temp-0 | BP1_Temp-F | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
2C | Edge-0 temp-1 | BP1_Temp-B | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
2D | Edge-1 expander | BP2_Temp-Exp | 3 | 3 | - | - | - | - | - | - | 112 | 115 | - | -
2E | Edge-1 temp-0 | BP2_Temp-F | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
2F | Edge-1 temp-1 | BP2_Temp-B | 2 | 2 | - | - | - | - | - | - | 60 | 65 | - | -
3A | Temp0_EXP | Sys_Temp-Exp | 3 | 3 | - | - | - | - | - | - | 112 | 115 | -
3B | Temp1_EXP | Sys_Temp-Bd | 3 | 3 | - | - | - | - | - | - | 60 | 65 | -
80 | PSU1_Status | PSU1_Status | - | - | - | - | - | - | - | - | - | - | - | -
81 | PSU2_Status | PSU2_Status | - | - | - | - | - | - | - | - | - | - | - | -
84 | PSU_watt | PSU_Watt | - | - | - | - | - | - | - | - | - | - | - | -
88 | PSU1_temp | PSU1_Temp | 3 | 3 | - | - | - | - | - | - | 60 | 65 | - | -
89 | PSU2_temp | PSU2_Temp | 3 | 3 | - | - | - | - | - | - | 60 | 65 | - | -
B0 | ExpBd1_Presence | ExpBd1_Presence | - | - | - | - | - | - | - | - | - | - | - |  | Discrete sensor, Expander Board presence.
B1 | ExpBd2_Presence | ExpBd2_Presence | - | - | - | - | - | - | - | - | - | - | - |  | Discrete sensor, Expander Board presence..
Explanation: LNR: Lower Non-Recoverable Threshold LC: Lower Non-Critical Threshold LNC: Lower Non-Critical Threshold UNC: Upper Non-Critical Threshold UC: Upper Non-Critical Threshold UNR: Upper Non-Recoverable Threshold